## Sheet1
DOOR NO. | SPACE | DESCRIPTION. | SCHLAGE D53PD PUSH BUTTON LOCK | SCHLAGE D10S PASSAGE LATCH | SCHLAGE D70PD CLASSROOM LOCK | SCHLAGE RHODES LEVERS | SCHLAGE FLUSH BOLTS (TOP & BOTTOM)* | SCHLAGE DUST SOCKETS* | SCHLAGE B500 PULL HANDLE (200) | SCHLAGE PUSH PLATE (288) | DORMA TS-73 CLOSER | DORMA TS-83 CLOSER | SCHLAGE 431 DOOR STOP (AL) | SCHLAGE INDICATOR BOLT (SCP)
D1 | FOYER | PC ALUMINIUM FACED | # |  |  | # | [5 empty] | #
D2 | GENERATOR RM | PC ALUMINIUM FACED | # |  |  | # | [5 empty] | #
D3 | LOADING BAY | COMMERCIAL ROLLER SHUTTER DOOR
D3a | LOADING BAY | PC ALUMINIUM FACED | # |  |  | # | [5 empty] | #
D4 | FOYER | TIMB., F.P., P.Q., CS CAVITY SLIDER, H/W. BY SUPPLIER
D5 | WC | TIMB., F.P., P.Q. | [6 empty] | # | # | # |  | # | #
D6 | OFFICE | TIMB., F.P., P.Q. |  |  | # | # | [6 empty] | #
D7 | LOBBY | TIMB., F.P., P.Q. | [6 empty] | # | # | #
D8 | LOBBY | TIMB., F.P., P.Q. | [6 empty] | # | # | # |  | #
D9 | WC | PROPRIETARY TOILET PARTITIONS, H/W. BY SUPPLIER
D10 | WC | PROPRIETARY TOILET PARTITIONS, H/W. BY SUPPLIER
D11 | JANITOR | TIMB., F.P., P.Q. |  |  | # | # | [6 empty] | #
D12 | LOADING BAY | STEEL 60 min INTERCONNECTING FIRE DOORS - each door has: |  | # |  | # | [5 empty] | # | #
D13 | STORAGE | TIMB., F.P., P.Q., ONE LEAF DUTCH DOOR - See Dwg 10/305 |  |  | # | # | #2 | # | # | # | #
D14 | WORKSHOP | STEEL-FACED INTERCONNECTING DOORS - each door has: |  |  | # | # | # | # |  |  |  | #2 | #2
D15 | LOADING BAY | TIMB., F.P., P.Q. |  |  | # | # | # | # |  |  |  | #2 | #2
D16 | CONTROL RM | TIMB., F.P., P.Q. |  | # |  | # |  |  |  |  | # |  | #
D17 | BATTERY RM | TIMB., F.P., P.Q. |  |  | # | # | [6 empty] | #
D18 | CONTROL RM | STEEL 60 min FIRE DOORS |  |  | # | # |  |  |  | #2* |  | # | #2
D19 | CONTROL RM | PC ALUMINIUM FACED | # |  |  | # | # | # |  | #2* |  | #2
D20 | CONTROL RM | TIMB., F.P., P.Q. |  | # |  | # |  |  |  |  | # |  | #
D21 | MEZZANINE | TIMB., F.P., P.Q. |  | # |  | # |  |  |  |  | # |  | #
D23 | SWITCHGEAR BLDG | PC ALUMINIUM FACED | # |  |  | # | # | # |  | #2* |  | #2
MG 217 - MAJURO GENERATING STATION NO. 2 - DOOR SCHEDULE
ALL LOCKS TO BE MASTER KEYED
ALL FURNITURE TO BE S.C.P.
ALL DOORS TO BE HOLLOW CORE U.N.O.
ALL INTERIOR DOORS TO BE FITTED WITH KICK PLATES ( 8" (200mm) HIGH)
HANG ALL INTERIOR DOORS ON 1.5 PR 90 x 60 BUTTS.
HANG ALL EXTERIOR DOORS ON 1.5 PR 100 x 75 S.C.P.ON BRASS HINGES
TIMB. = TIMBER F.P. = FLUSH PANEL
AL. = ALUMINIUM P.Q. = PAINT QUALITY
* FIT TO ONE LEAF ONLY - THE LEAF WITHOUT THE LOCK.
TURBINE HALL - 01