# From the Marshall Islands Journal Friday, June 2, 2006

MEC helps fix old KAJUR generator

Ebeye’s KAJUR power company engineers, working with MEC staff, have repaired a generator at the Ebeye power plant that has not worked for years.

Ebeye was down to only one engine — one of the small “Cummings” units — that could not supply the entire island, so KAJUR was forced to alternate power to half the island on four-hour shifts.

MEC’s Morris Lafita reported that he and the KAJUR power plant staff identified the problem with the larger Enterprise unit, fixed it and were doing further maintenance work to ensure it will operate properly.

The use of one of the Caterpillar engines last week blew out a transformer at the power plant. MEC general manager Billy Roberts said a transformer that MEC picked up for nothing from Johnston Island is to be shipped up to Ebeye to be installed, so the Caterpillar can go back online.

The Cabinet recently put KAJUR under the supervision of the MEC board of directors.